T.C.

MİLLÎ SAVUNMA BAKANLIĞI

Hava Kuvvetleri Komutanlığı

Karargâh Destek Kıtalar Grup Komutanlığı

BAKIMDA KULLANILABİLECEK MALZEME BİRİM FİYAT TEKLİF CETVELİ

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S.NO** | **MALZEMENİN CİNSİ** | **ÖZELLİK** | **MİKTARI** | **BİRİM** | **FİYATI** |
|  | ELEKTİRONİK FLOW SWİCH | 00PPG000030500A | 1 | EA |  |
|  | KONDERSER FAN MOTORU | 00PPG000007201AE35-4G.93092-BMXJ | 1 | EA |  |
|  | FAN MOTOR CABLE | E35-4G.93092-BMXJ |  | EA |  |
|  | MCHX BATARYA CONTA TK | 00PPG00473500A | 1 | EA |  |
|  | PLATE EXCHANGER | LL01SB054 | 1 | EA |  |
|  | FAN KUMANDA KARTI | 32GB500432 | 1 | EA |  |
|  | EXPESION VALF KUMANDA KARTI | 32GB500422 | 1 | EA |  |
|  | OİL LEVEL SWITCH | 00PPG000011400A | 1 | EA |  |
|  | EXPESION VALF | 00PPG00484802A | 1 | EA |  |
|  | EXPESION VALF | EF05BD333 | 1 | EA |  |
|  | EXPESION VALF | EF05BD391 | 1 | EA |  |
|  | SEPARATÖR YAĞ ISITICISI | 30GX428322 | 1 | EA |  |
|  | HIGH PRESURE SWITCH | 00PPG000488900 | 1 | EA |  |
|  | HIGH PRESURE SENSOR | 00PPG00012000 | 1 | EA |  |
|  | (LP) ALÇAK BASINÇ SENSÖRÜ | 00PPG0000012100A | 1 | EA |  |
|  | SOĞUTUCU AKIŞKAN R 134 A | R-134 A AÇIK MAVİ RENKLİ TÜPTE, 13,62 (ON ÜÇ VİRGÜL ALTMIŞ İKİ) KG AĞIRLIĞINDA TÜPLERDE OLACAKTIR. | 1 | TÜP |  |
|  | YAĞ FİLİTRESİ H 48 | 0PPG000012800A | 1 | EA |  |
|  | COMPRESSOR OİL | PP23BZ110001 | 1 | LT |  |
|  | TAŞ DRAYER | R 134 A GAZINA UYUMLU H 48 | 1 | EA |  |
|  | ANTİFİRİZ | \* ANTIFRIZ:T0180\* İSTENİLEN MALZEMELER TSE, EN, CE VEYA İSO STANDARTLARINDAN EN AZ BİRİSİNE SAHİP OLCAKTIR. \* YOĞUNLUĞU 15°C EN AZ 1,12 g/ml DEĞERİNDE OLCAKTIR. \* PARLAMA NOKTASI 128°C DEĞERİNDE OLACAKTIR.\* DONMA NOKTASI % 50 İÇİN -38°C VE %100 İÇİN -23°C DEĞERİNDE OLCAKTIR.\* KAYNAMA NOKTASI % 100 İÇİN 149°C VE %50 İÇİN 108°C DEĞERİNDE OLACAKTIR.\* 16 kg (± 2) LIK BİDON VEYA TENEKELERDE OLACAKTIR.\* İMAL YILI 2019 OLACAKTIR. | 1 | KG |  |
|  | EXV BOARD, PD5 (W/O PROGRAM) | 32GB500422 | 1 | EA |  |
|  | TCPM BOARD, PD5 &PD7 | 00PSG000469000 | 1 | EA |  |
|  | DISPLAY BOARD, PD5 (W/O PROGRAM) | 00PSG000281600 | 1 | EA |  |
|  | HMI KONTROL BOARD (W/O PROGRAM) | 00PSG0001014400 | 1 | EA |  |
|  | FUSE SWITCH BASED (QS101F) | OS630D03 | 1 | EA |  |
|  | FUSE (QS101F) | 3NA3365/2C | 1 | EA |  |
|  | FUSE SWITCH BASED (QS101F) | 3NA3365/2C | 1 | EA |  |
|  | FUSE (QS101F) | 3NA3260/2C | 1 | EA |  |
|  | CURRENT TRANSFORMER (TI2) | 3RB2956/0FH | 1 | EA |  |
|  | FAN CONTACTOR (KM1\*-1,2,3,4,5,6,7,8) | 3TF4022/0XB0 | 1 | EA |  |
|  | CONTACTOR (KM2Y) | 3TF5122/0XF0 | 1 | EA |  |
|  | CONTACTOR (KM2-KM2D) | 3TF5422/0XF0 | 1 | EA |  |
|  | CONTACTOR (KM1Y) | 3TF5122/0XF0 | 1 | EA |  |
|  | CONTACTOR (KM1-KM1D) | 3TF5422/0XF0 | 1 | EA |  |
|  | BREAKER (QF1/2) | 3VU13400/NK00 | 1 | EA |  |
|  | FAN BREAKER(QM1\*-1,2,3,4,5,6,7,8) | 3VU13400/NK00 | 1 | EA |  |
|  | BREAKER CONTROL CİRCUIT (QF) | 3VU13400/NL00 | 1 | EA |  |
|  | RELAY (K90F) | MY2NJ/AC24V/50HZ | 1 | EA |  |
|  | TRANSFORMER (TC) | PLS CONTRAC WİTH CSR | 1 | EA |  |
|  | TRANSFORMER (TC1) | JBK3Z400VA380V/220V | 1 | EA |  |
|  | CURENT TRANSFORMER (TI3) | 3RB2956/0FH | 1 | EA |  |
|  | CABLE FOR FLOW SWICH | G7208D/T0019/KCL/C01 | 1 | EA |  |
|  | CABLE WITH WATER TEMP, SENSOR | G7208DT0019SVCLTS105 | 1 | EA |  |
|  | CABLE FOR LP, HP, SENSOR | G7208DY180CL06P07 | 1 | EA |  |
|  | CABLE FOR HEATER | G7208DT0019EH70CL | 1 | EA |  |
|  | PLOT | 00PPG000445900 | 1 | EA |  |
|  | SUPORT | 00PPG000222600 | 1 | EA |  |
|  | VALVE ASSY | 06DA403844 | 1 | EA |  |
|  | CORE ELECTROMAGNETİC VALVE | XM12YC024T | 1 | EA |  |
|  | ANGLE VALF | XL12AA004 | 1 | EA |  |
|  | ANGLE VALF | XL12AA001 | 1 | EA |  |
|  | COIL CAP,RH | 00PSG000017600 | 1 | EA |  |
|  | COIL CAP,LF | 00PSG00001770 | 1 | EA |  |
|  | FAN MOTOR | 00PPG000007201 | 1 | EA |  |
|  | DECK, FAN | 00PSG000093900 | 1 | EA |  |
|  | BASE, TEMP SENSOR | 00PPG000008000 | 1 | EA |  |
|  | SAFETY VALVE ASSY | 00EFG000115300WX | 1 | EA |  |
|  | SAFETY VALVE | UM12AQ021 | 1 | EA |  |
|  | COOLER/ECONOMİSER INSTALLATION | 00EFG000112400WX | 1 | EA |  |
|  | LOVE PRESSURE SENSOR | 00PPG000012100 | 1 | EA |  |
|  | BODY,CHECK VALVE | EC39DM061C | 1 | EA |  |
|  | CORE,CHECK VALVE | EC39DM062C | 1 | EA |  |
|  | PRESSURE SENSOR (ECONOMISER) | 00PPG000012100 | 1 | EA |  |
|  | PANEL | 00PSG000515800 | 1 | EA |  |
|  | PANEL | 00PSG000515900 | 1 | EA |  |
|  | PANEL | 00PSG000516000 | 1 | EA |  |
|  | PANEL | 00PSG000516300 | 1 | EA |  |
|  | PANEL | 00PSG000516400 | 1 | EA |  |
|  | COVER | 00PSG000516100 | 1 | EA |  |
|  | OPTURATOR | 00PSG000502900 | 1 | EA |  |
|  | SUPPORT | 00PSG000513900 | 1 | EA |  |
|  | TU COMPRESSOR SOUND PANEL MODULE (OPTION 015 OR 015LS) | 00EFG000274900WX | 1 | EA |  |
|  | MUFFLER | 00PPG000031000 | 1 | EA |  |
|  | DISPLAY BOARD, PD5 (W/O PROGRAM) | 00PSG000281600 | 1 | EA |  |
|  | TRANSFORMER | M14895 | 1 | EA |  |
|  | CONTACTOR | M24000 | 1 | EA |  |
|  | FUSE | M14690 | 1 | EA |  |
|  | CONTACTOR | M24002 | 1 | EA |  |
|  | COUPLİNG RELAY COPLETE | M24416 | 1 | EA |  |
|  | DİFFERENTIAL PRESSURE SWITCH | M24603 | 1 | EA |  |
|  | OVER-CURRENT RELEASE PXL | M24630 | 1 | EA |  |
|  | POWER CIRCUIT BREAKER | M24692 | 1 | EA |  |
|  | POWER CIRCUIT BREAKER | M24696 | 1 | EA |  |
|  | POWER CIRCUIT BREAKER | M24697 | 1 | EA |  |
|  | ELECTRICAL HEATING | M24693 | 1 | EA |  |
|  | COMPTROL T/H-SENSOR | M26178 | 1 | EA |  |
|  | COMPTROL 7000ADVENCED-TERMINAL | M26190 | 1 | EA |  |
|  | COMPTROL 7000EXTENCİONEBUS | M26564 | 1 | EA |  |
|  | BATTERY CHARGER | M26719 | 1 | EA |  |
|  | EVD EVOLUTİON TWIN DRİVER | M26724 | 1 | EA |  |
|  | LEAD FLİES RECHARGEABLE AKKU | M26734 | 1 | EA |  |
|  | E-HEATİNG | M26768 | 1 | EA |  |
|  | COMPTROL 7000 I/O CONTROLLER | M26776 | 1 | EA |  |
|  | G-FUSE PLUG | M37347 | 1 | EA |  |
|  | LP-SWITCH | M74357 | 1 | EA |  |
|  | HP-SWITCH | M74359 | 1 | EA |  |
|  | PRESSURE TRANSMITTER | M80266 | 1 | EA |  |
|  | SHUT OF VALVE 7/8’’ | M03766 | 1 | EA |  |
|  | RUBBER MAT EC- VENTILATOR | M19583 | 1 | EA |  |
|  | COMPRESSOR ZR108 KCE-TFD-550 | M19884 | 1 | EA |  |
|  | FRONT DISPLAY ADVENCED | M24462 | 1 | EA |  |
|  | STEAM CYLINDER A363-S | M26596 | 1 | EA |  |
|  | FILTERDRIER 5/8’’ | M79675 | 1 | EA |  |
|  | FILTER FRAME | M80258 | 1 | EA |  |
|  | EXPANSİONS VALVE E3V45ASR00 | M80265 | 1 | EA |  |
|  | ROTALOCK VALVE | M82809 | 1 | EA |  |
|  | INSTALLATION KIT | M82925 | 1 | EA |  |
|  | FILTER MAT | M91204 | 1 | EA |  |
|  | SLİDE SWITCH | M24751 | 1 | EA |  |
|  | SELONOID VALVE | M24793 | 1 | EA |  |
|  | ELECTRİC REHEAT | M31277 | 1 | EA |  |
|  | LOADSWITCH | M40106 | 1 | EA |  |
|  | COMPTROL 5000 HWO | M40149 | 1 | EA |  |
|  | MOTOR AC  | M40955 | 1 | EA |  |
|  | HD SWITCH PS3 | M55701 | 1 | EA |  |
|  | CONTROL BOARD KUE-CP | B24792 | 1 | EA |  |
|  | SPRING CLIP C16 | F00701 | 1 | EA |  |
|  | TAPER V- BELT PULLEY SPA | F05115  | 1 | EA |  |
|  | TENSING BUSH | F05150 | 1 | EA |  |
|  | KEY TRIANGULEAR  | F09060 | 1 | EA |  |
|  | V- BELT XPA 850 | M30573 | 1 | EA |  |
|  | COMPRESSOR ZR72 KCE-TFD 522 | M31162 | 1 | EA |  |
|  | EXPANSION VALVE TX3-N29 | M42600 | 1 | EA |  |
|  | MOTOR SLEIGH | M43363 | 1 | EA |  |
|  | ROTALOCK VALVE | M50486 | 1 | EA |  |
|  | FAN AT 12/12 | M51635 | 1 | EA |  |
|  | NON RETORN VALVE | W61059 | 1 | EA |  |
|  | 2-WAY SOLENOID VALVE | F22119 | 1 | EA |  |
|  | VALVE INLET FOR CHAGING | L10927 | 1 | EA |  |
|  | SHUT OF VALVE 5/8’’ | N03767 | 1 | EA |  |
|  | FILTER FRAME  | M11722 | 1 | EA |  |
|  | CURRENT TRANSFORMER | M11788 | 1 | EA |  |
|  | OEM CONTROL BOARD CP3 | M24171 | 1 | EA |  |
|  | HUDIFIER KIT | M24182 | 1 | EA |  |
|  | CYLINDER | M24186 | 1 | EA |  |
|  | FRONT DISPLAY ADVANCED | M24462 | 1 | EA |  |
|  | EVAPARATOR  | M27393 | 1 | EA |  |
|  | FILTERDRIER 7/8’’ | M30230 | 1 | EA |  |
|  | OVERHEAT | F82010 | 1 | EA |  |
|  | COMTROL 1001/5000 T/H SENSOR | M10180 | 1 | EA |  |
|  | DIFFERENTIAL PRESSURE SWITCH | M12834 | 1 | EA |  |
|  | FUSE SIBA | M14707 | 1 | EA |  |
|  | ND SCHALTER | M15995 | 1 | EA |  |
|  | SPEEED CONTROLLER F. | M23266 | 1 | EA |  |
|  | CONTACTOR | M24000 | 1 | EA |  |
|  | COMMING LİNK FEEDER TERMINAL | M24152 | 1 | EA |  |
|  | FAN CONTAKTOR | 256057 | 1 | EA |  |
|  | COMPRESSOR CONTAKTOR | 254671 | 1 | EA |  |
|  | HUMUDIFIER CONTAKTOR | 254671 | 1 | EA |  |
|  | DAMPER RELAY | 255197 | 1 | EA |  |
|  | LEEVEL PROBE INSULATOR | 275905 | 1 | EA |  |
|  | CAPASITOR | 254324 | 1 | EA |  |
|  | HOTGAS SELONOID VALVE | 254656 | 1 | EA |  |
|  | HUDIFIER CHARGE SELONOID VALVE | 254656 | 1 | EA |  |
|  | MAIN SWITCH | 256994 | 1 | EA |  |
|  | COMRESSOR | SH240 DANFOSS  | 1 | EA |  |
|  | COMRESSOR | SH300 DANFOSS  | 1 | EA |  |
|  | COMRESSOR | SZ110 DANFOSS  | 1 | EA |  |
|  | EXPANSİONS VALVE ELECTRONIC CARD | EVD0000T51 | 1 | EA |  |
|  | FANCOİL, KASET TİPİ | MKD 500 | 1 | EA |  |
|  | FANCOİL, KONSOL TİP | MVT 40 | 1 | EA |  |
|  | FANCOİL, KONSOL TİP | MVT 50 | 1 | EA |  |
|  | FANCOİL, KONSOL TİP | MVT 70 | 1 | EA |  |
|  | SOĞUTUCU AKIŞKAN  | R-407C TURUNCU RENKLİ TÜPTE, VANA BAŞINDAKİ JELATİNİ AÇILMAMIŞ OLACAKTIR.11,35 ( ON BİR VİRGÜL OTUZ BEŞ) KG.AĞIRLIĞINDA TÜPLERDE OLACAKTIR. | 1 | TU |  |
|  | SOĞUTUCU AKIŞKAN  | R410A GAZI PEMBE RENKLİ TÜPTE,VANA BAŞINDAKİ JELATİNİ AÇILMAMIŞ OLACAKTIR.NET 11,35 ( ON BİR VİRGÜL OTUZ BEŞ) KG.AĞIRLIĞINDA TÜPLERDE OLACAKTIR. | 1 | TU |  |
|  | SOĞUTUCU AKIŞKAN  | R22 GAZ YEŞİL RENKLİ TÜPTE, VANA BAŞINDAKİ JELATİNİ AÇILMAMIŞ OLACAKTIR.NET 13,62 (ON ÜÇ VİRGÜL ALTMIŞ İKİ) KG AĞIRLIĞINDA, KİMYASAL BİLEŞENİ MONO KLOR Dİ-FLOR METAN (CHCLF2) OLACAKTIR. | 1 | TU |  |
|  | COMPRESSOR | 300814P | 1 | EA |  |
|  | COMPRESSOR | 300814P | 1 | EA |  |
|  | COMPRESSOR | 5009461 | 1 | EA |  |
|  | COMPRESSOR SOUND ABSORBER | 5009776 | 1 | EA |  |
|  | COMPRESSOR SOUND ABSORBER | 5009777 | 1 | EA |  |
|  | COMPRESSOR SOUND ABSORBER | 5009778 | 1 | EA |  |
|  | COMPRESSOR MOUNTING BOLT | 300827P | 1 | EA |  |
|  | COMPRESSOR MOUNTING RUBBER | 300826P | 1 | EA |  |
|  | CRANK CASE HEATER | 5009473 | 1 | EA |  |
|  | CRANK CASE HEATER | 5009474 | 1 | EA |  |
|  | HEAT EXCHANGER ASSY | 5009781 | 1 | EA |  |
|  | ACCUMULATOR ASSY | 5009784 | 1 | EA |  |
|  | ACCUMULATOR ASSY | 5011165 | 1 | EA |  |
|  | ACCUMULATOR VALVE FIXING PLATE | 5009785 | 1 | EA |  |
|  | ACCUMULATOR INSULATION | 5009788 | 1 | EA |  |
|  | OIL SEPARATOR ASSY | 5009789 | 1 | EA |  |
|  | OIL SEPARATOR ASSY | 5019117 | 1 | EA |  |
|  | OIL SEPARATOR ASSY | 5009790 | 1 | EA |  |
|  | OIL SEPARATOR VALVE FIXING PLATE | 5009791 | 1 | EA |  |
|  | OIL SEPARATOR ASSY | 5019118 | 1 | EA |  |
|  | DOUBLE TUBE HEAT EXCHANGER ASSY | 5009792 | 1 | EA |  |
|  | DOUBLE TUBE MOUNTING RUBBER | 5009793 | 1 | EA |  |
|  | FOUR WAY VALVE BODY | 5015354 | 1 | EA |  |
|  | FOUR WAY VALVE COIL | 5009469 | 1 | EA |  |
|  | EXPANSION VALVE BODY | 142054J | 1 | EA |  |
|  | EXPANSION VALVE BODY | 1996469 | 1 | EA |  |
|  | EPXANSION VALVE COIL | 5009463 | 1 | EA |  |
|  | EPXANSION VALVE COIL | 5009465 | 1 | EA |  |
|  | SOLENOID VALVE BODY | 5009796 | 1 | EA |  |
|  | SOLENOID VALVE BODY | 5009797 | 1 | EA |  |
|  | SOLENOID VALVE COIL | 5009466 | 1 | EA |  |
|  | SOLENOID VALVE COIL | 5009467 | 1 | EA |  |
|  | SOLENOID VALVE COIL | 5009468 | 1 | EA |  |
|  | STOP VALVE | 5009799 | 1 | EA |  |
|  | STOP VALVE | 5009801 | 1 | EA |  |
|  | ONE DIRECTION VALVE | 5009805 | 1 | EA |  |
|  | ONE DIRECTION VALVE | 5009806 | 1 | EA |  |
|  | PRESSURE CONTROL VALVE | 300802P | 1 | EA |  |
|  | HIGH PRESSURE SWITCH | 5009846 | 1 | EA |  |
|  | LOW PRESSURE SENSOR | 300732P | 1 | EA |  |
|  | HIGH PRESSURE SENSOR | 300727P | 1 | EA |  |
|  | SERVICE PORT | 5015454 | 1 | EA |  |
|  | SERVICE PORT | 300824P | 1 | EA |  |
|  | FILTER | 301218P | 1 | EA |  |
|  | FILTER | 097344J | 1 | EA |  |
|  | FILTER | 5008027 | 1 | EA |  |
|  | FILTER | 5009808 | 1 | EA |  |
|  | FILTER STRAINER | 5009809 | 1 | EA |  |
|  | CAPILLARY TUBE | 300828P | 1 | EA |  |
|  | CAPILLARY TUBE | 5018086 | 1 | EA |  |
|  | CAPILLARY TUBE | 5009811 | 1 | EA |  |
|  | HEAT SINK ASSY | 5009813 | 1 | EA |  |
|  | HEAT SINK HEAT TRANSFER SHEET | 5009815 | 1 | EA |  |
|  | HEAT SINK HEAT TRANSFER SHEET | 5009816 | 1 | EA |  |
|  | HEAT SINK HEAT TRANSFER SHEET | 5009817 | 1 | EA |  |
|  | PIPE FIXING PLATE ASSY | 5009818 | 1 | EA |  |
|  | PIPE FIXING PLATE | 5009820 | 1 | EA |  |
|  | METAL PIPE CLAMP 3/4 | 300298P | 1 | EA |  |
|  | PLASTIC PIPE CLAMP | 1104323 | 1 | EA |  |
|  | THERMISTOR FIXATION SPRING | 300847P | 1 | EA |  |
|  | Y-JOINT | 5009822 | 1 | EA |  |
|  | Y-JOINT | 5009823 | 1 | EA |  |
|  | T-JOINT | 257006A | 1 | EA |  |
|  | PIPE WEIGHT | 5009824 | 1 | EA |  |
|  | PIPE WEIGHT | 5009825 | 1 | EA |  |
|  | TOP PLATE | 5009508 | 1 | EA |  |
|  | UPPER FRONT PLATE ASSY | 5009847 | 1 | EA |  |
|  | SERVICE PLATE ASSY | 5009519 | 1 | EA |  |
|  | UPPER REAR PLATE ASSY | 5009505 | 1 | EA |  |
|  | UPPER SIDE PLATE ASSY | 5009502 | 1 | EA |  |
|  | FRONT PLATE ASSY | 5009849 | 1 | EA |  |
|  | SIDE PLATE | 5009516 | 1 | EA |  |
|  | LOWER FRONT PLATE | 5009515 | 1 | EA |  |
|  | CORNER SUPPORT PLATE | 5009513 | 1 | EA |  |
|  | MIDDLE SUPPORT PLATE | 5010224 | 1 | EA |  |
|  | FRONT STAY ASSY | 5009522 | 1 | EA |  |
|  | REAR STAY ASSY | 5009523 | 1 | EA |  |
|  | SIDE STAY ASSY | 5009524 | 1 | EA |  |
|  | FAN MOTOR MOUNTING PLATE | 5009530 | 1 | EA |  |
|  | STOP VALVE MOUNTING PLATE | 5009826 | 1 | EA |  |
|  | BOTTOM PLATE | 5009510 | 1 | EA |  |
|  | INSTALLATION LEG | 5009512 | 1 | EA |  |
|  | BELL MOUTH ASSY | 5009845 | 1 | EA |  |
|  | PROPELLER FAN | 300637P | 1 | EA |  |
|  | SCREW | 5012123 | 1 | EA |  |
|  | DISCHARGE GRILLE | 5009525 | 1 | EA |  |
|  | SUCTION GRILLE | 5009501 | 1 | EA |  |
|  | FAN MOTOR | 5009472 | 1 | EA |  |
|  | FAN MOTOR | 5011893 | 1 | EA |  |
|  | SWITCH BOX COVER ASSY | 5021131 | 1 | EA |  |
|  | MAIN PCB ASSY | 5011132 | 1 | EA |  |
|  | MAIN PCB ASSY | 5011898 | 1 | EA |  |
|  | PCB ASSY | 5009477 | 1 | EA |  |
|  | PCB ASSY | 5009478 | 1 | EA |  |
|  | PCB ASSY | 5009480 | 1 | EA |  |
|  | PCB ASSY | 5011901 | 1 | EA |  |
|  | PCB ASSY | 5009479 | 1 | EA |  |
|  | PCB ASSY | 5011900 | 1 | EA |  |
|  | INVERTER ASSY | 5009486 | 1 | EA |  |
|  | INVERTER ASSY | 5009484 | 1 | EA |  |
|  | POWER TERMINAL | 5009488 | 1 | EA |  |
|  | INSULATION SHEET | 5011695 | 1 | EA |  |
|  | REACTOR | 1679308 | 1 | EA |  |
|  | REACTOR | 5009487 | 1 | EA |  |
|  | REACTOR | 5009487 | 1 | EA |  |
|  | THERMISTOR | 1782095 | 1 | EA |  |
|  | THERMISTOR ASSY | 5009496 | 1 | EA |  |
|  | THERMISTOR ASSY | 5009499 | 1 | EA |  |
|  | WIRE HARNESS ASSY (COMPRESSOR) | 5009836 | 1 | EA |  |
|  | WIRE HARNESS ASSY (COMPRESSOR) | 5009837 | 1 | EA |  |
|  | EL.COMPO. MOUNTING PLATE | 5022481 | 1 | EA |  |
|  | TRANSPORTATION PALLET | 300792P | 1 | EA |  |
|  | SUPPORTING PALLET | 5009839 | 1 | EA |  |
|  | UPPER PROTECTION PLATE | 5009841 | 1 | EA |  |
|  | CORNER PROTECTION | 5009842 | 1 | EA |  |
|  | MIDDLE PROTECTION | 300868P | 1 | EA |  |
|  | ACCESSORY SET (AUXILIARY PIPES) | 5012276 | 1 | EA |  |
|  | PLATE FINNED COIL HEAT EXCH.AS | 5009173 | 1 | EA |  |
|  | SINGLE UNION JOINT | 019843J | 1 | EA |  |
|  | SINGLE UNION JOINT | 257589J | 1 | EA |  |
|  | FLARE NUT (FORGING) | 119848J | 1 | EA |  |
|  | FLACE CAP PACKING | 0914161 | 1 | EA |  |
|  | MOTORIZED EXPANSION VALVE BODY | 1901788 | 1 | EA |  |
|  | FLARE CAP PACKING | 1686654 | 1 | EA |  |
|  | FLARE NUT (FORGING) | 1198506 | 1 | EA |  |
|  | FITTING SPRING/THERMISTOR | 042396J | 1 | EA |  |
|  | MOTOR OPERATED VALVE COIL ASSY | 5009178 | 1 | EA |  |
|  | TURBO FAN ROTOR | 301424P | 1 | EA |  |
|  | LOCK WARHER | 066216J | 1 | EA |  |
|  | LOCK NUT/FAN ROTOR | 082008J | 1 | EA |  |
|  | PROTECTION NET/AIR INLET | 5008863 | 1 | EA |  |
|  | ELECTRIC COMPONENT ASSY | 5009179 | 1 | EA |  |
|  | EL. COMPO. BOX | 5008867 | 1 | EA |  |
|  | RESIN CASE | 5008868 | 1 | EA |  |
|  | PCB ASSY | 5009180 | 1 | EA |  |
|  | CAPACITY SETTING ADAPTOR | 065337J | 1 | EA |  |
|  | PCB ASSY | 1992809 | 1 | EA |  |
|  | TERMINAL STRIP FOR REMOCON | 5008871 | 1 | EA |  |
|  | TERMINAL STRIP | 5009181 | 1 | EA |  |
|  | RESIN CASE | 5008872 | 1 | EA |  |
|  | THERMISTOR (AIR) | 1992900 | 1 | EA |  |
|  | WIRE HARNESS ASSY | 1993004 | 1 | EA |  |
|  | WIRE HARNESS ASSY | 5009182 | 1 | EA |  |
|  | WIRE HARNESS ASSY | 1992847 | 1 | EA |  |
|  | WIRE HARNESS ASSY (FOR ACS TRANSM.) | 1992854 | 1 | EA |  |
|  | EARTH WIRE | 2026154 | 1 | EA |  |
|  | EL. COMPO. BOX COVER | 5008873 | 1 | EA |  |
|  | RESIN CASE | 5008874 | 1 | EA |  |
|  | ASSY CONNECTED WITH CONNECTOR | 2026161 | 1 | EA |  |
|  | DRAIN PUMP ASSY | 5008875 | 1 | EA |  |
|  | DRAIN PUMP | 2013437 | 1 | EA |  |
|  | FLOAT SWITCH | 5008876 | 1 | EA |  |
|  | DRAIN PUMP MOUNTING STAND | 2013451 | 1 | EA |  |
|  | DC FAN MOTOR | 2006011 | 1 | EA |  |
|  | "RUBBER GROMMET, FAN MOTOR" | 0532033 | 1 | EA |  |
|  | THERMISTOR ASSY | 5009183 | 1 | EA |  |
|  | THERMISTOR ASSY | 5016713 | 1 | EA |  |
|  | WIRE HARNESS ASSY WITH SEALING | 5008877 | 1 | EA |  |
|  | FERRITE CORE | 1701445 | 1 | EA |  |
|  | SIDE PLATE 1 | 5008879 | 1 | EA |  |
|  | SIDE PLATE 2 | 5008882 | 1 | EA |  |
|  | TOP PLATE ASSY | 5008884 | 1 | EA |  |
|  | HOLD PLATE ASSY | 5008885 | 1 | EA |  |
|  | HANGER METAL | 5008886 | 1 | EA |  |
|  | HOLD PLATE ASSY | 5009184 | 1 | EA |  |
|  | PLATE FINNED COIL MOUNTING PLATE | 5008890 | 1 | EA |  |
|  | PLATE FINNED COIL MOUNTING PLATE 2 | 5008894 | 1 | EA |  |
|  | DRAIN HOSE ASSY | 2013932 | 1 | EA |  |
|  | INNER THERMAL INSULATION ASSY | 5008899 | 1 | EA |  |
|  | HOLD PLATE | 5008901 | 1 | EA |  |
|  | DRAIN PAN ASSY | 5008903 | 1 | EA |  |
|  | DRAIN SOCKET CAP | 2013576 | 1 | EA |  |
|  | DRAIN SOCKET CAP | 1270282 | 1 | EA |  |
|  | NUT WITH FLAT WASHER | 054199J | 1 | EA |  |
|  | STRAGHTENING PLATE | 5009186 | 1 | EA |  |
|  | MOUNTING PLATE ASSY | 5009187 | 1 | EA |  |
|  | BELL MOUTH | 5009190 | 1 | EA |  |
|  | DRAIN HOSE SEALING MATERIAL | 032284J | 1 | EA |  |
|  | SEALING MATERIAL | 1703232 | 1 | EA |  |
|  | THERMAL INSULATION TUBE | 0381879 | 1 | EA |  |
|  | THERMAL INSULATION TUBE | 1703249 | 1 | EA |  |
|  | DRAIN HOSE | 152134J | 1 | EA |  |
|  | HOSE BAND | 5009192 | 1 | EA |  |
|  | "THERMAL INSULATION,LEAD WIRE" | 1431924 | 1 | EA |  |
|  | WASHER FIXING MATERIAL | 5008904 | 1 | EA |  |
|  | PLAIN WASHER (M10) | 1755497 | 1 | EA |  |
|  | WIRE CLAMP MATERIAL | 980723J | 1 | EA |  |
|  | "SEALING MATERIAL, DRAIN HOSE" | 001439J | 1 | EA |  |
|  | PACKING CASE TOP TRAY ASSY | 5010601 | 1 | EA |  |
|  | PACKING CASE BOTTOM TRAY ASSY | 5010602 | 1 | EA |  |
|  | PACKING CASE CARTON SHELL | 5010605 | 1 | EA |  |
|  | ACCESSORY SET (1) | 5010606 | 1 | EA |  |
|  | ACCESSORIES ASSY | 5010607 | 1 | EA |  |
|  | KABİNLİ YER TİPİ FANCOİL | UNFC 35 | 1 | EA |  |
|  | KABİNLİ YER TİPİ FANCOİL | UNFC 40 | 1 | EA |  |
|  | KABİNLİ YER TİPİ FANCOİL | UNFC 50 | 1 | EA |  |
|  | KASET TİPİ FANCOİL | UDFC936 | 1 | EA |  |
|  | KASET TİPİ FANCOİL | UDFC942 | 1 | EA |  |
|  | SİRKİLASYON POMPASI | 15KW | 1 | EA |  |
|  | SİRKİLASYON POMPASI | 10KW | 1 | EA |  |
|  | SİRKİLASYON POMPASI | 6KW | 1 | EA |  |
|  | SİRKİLASYON POMPASI | 7KW | 1 | EA |  |

|  |
| --- |
|  |
|  |
|  |
|  |

|  |
| --- |
|  |